{"text_format":"2","workbook":"xlsx","n_sheets":2,"sheets":["2026","2025"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"2026","index":0,"n_rows":45,"n_cols":9,"rows_kept":45,"cut":false,"hidden":false,"merged":[[1,1,1,4],[7,8,9,8],[35,8,44,8],[10,4,11,4],[10,3,11,3],[10,5,11,5],[10,6,11,6],[10,7,11,7],[17,8,31,8]]}
[]
[null,"Załącznik nr 3 do Umowy - Harmonogram testów "]
[]
[null,"Znak sprawy:AE/DZI/SAM.6522.277.2026 "]
[]
[null,"Nazwa urządzenia","Nr seryjny ","Nr inwentarzowy","Miejsce użytkowania","Data wykonania","Rok produkcji","Data planowania","Wyposażenie"]
[null,"Tomograf komputerowy Aquilion Prime SP TSX-303B","1KB1982249","T802-43-73-0002","Pracownia TK","2026-02-11",2019,"2027-02-11"]
[null,"Monitor EIZO Radiforce RX 660",24815069,null,"Pracownia TK","2025-10-14",null,"2026-10-14","Monitory do TK"]
[null,"Monitor EIZO Radiforce RX 660",24827069,null,"Pracownia TK","2025-10-14",null,"2026-10-14"]
[null,"Monitor EIZO Radiforce RX 660",24845069,null,"Pracownia TK","2025-10-14",null,"2026-10-14"]
[null,"Monitor opisowy tomografu wolumetrycznego ","ET66H01484SL0T","T802-43-73-0001","Pracownia Tomografii Wolumetrycznej ","2026-04-29",2018,"2027-04-29"]
[null,"Tomograf wolumetryczny Vatech Green 21","066-000121"]
[null,"Aparat RTG SONIALVISION G4","MP0000C79002","T802-40-01-0015","Pracownia RTG","2026-03-09",2017,"2027-03-09"]
[null,"Cyfrowy mobilny aparat RTG DX-D 100","A5411003191","T802-40-01-0017","Pracownia RTG","2026-02-11",2018,"2027-02-11"]
[null,"Aparat rentgenowski z ramieniem C Ziehm Solo FD",52971,"T802-40-01-0018","Blok Operacyjny","2026-02-11",2018,"2027-02-11"]
[null,"Aparat rentgenowski z ramieniem C Ziehm Vision FD",91476,"T802-40-01-0014","Blok Operacyjny","2026-02-11",2014,"2027-02-11"]
[null,"Aparat rentgenowski przyłóżkowy cyfrowy (rtg) OPTIMA XR 240 AMX","DF2402000012WK","T802-40-01-0019","Pracownia RTG","2026-02-11",2020,"2027-02-11"]
[null,"Diatermia VIO 300D",11225884,"T802-41-01-0002","Blok Operacyjny","2026-04-21",2003,"2027-04-21"]
[null,"Diatermia Storz Autocon III",40101835,"T802-42-23-0007","Blok Operacyjny","2026-04-21",2018,"2027-04-21"]
[null,"Diatermia STORZ Autocon II 200","XV11386459","T802-42-23-0003","Blok Operacyjny","2026-04-21",2014,"2027-04-21"]
[null,"Diatermia elektrochirurgiczna z zestawem do koagulacji z funkcją do zamykania naczyń MAXIUM E","ME402E0703177648","T802-41-01-0011","Blok Operacyjny Ginekologiczny","2026-04-21",2017,"2027-04-21"]
[null,"Diatermia elektrochirurgiczna z zestawem do koagulacji z funkcją do zamykania naczyń MAXIUM E","ME402E0703177649","T802-41-01-0012","Blok Operacyjny Ginekologiczny","2026-04-21",2017,"2027-04-21"]
[null,"Diatermia VIO 300D",11311576,"T802-41-01-0007","Blok Operacyjny Ginekologiczny","2026-04-21",2009,"2027-04-21"]
[null,"Diatermia elektrochirurgiczna Spectrum",501049,"T802-41-01-0014","Blok Operacyjny","2026-04-21",2018,"2027-04-21"]
[null,"Diatermia elektrochirurgiczna Spectrum",500669,"T802-41-01-0009","Blok Operacyjny","2026-04-21",2015,"2027-04-21"]
[null,"Diatermia chirurgiczna MEMB3","MEMB3M0000171155","T802-41-01-0010","Blok Porodowy","2026-04-21",2017,"2027-04-21"]
[null,"Diatermia chirurgiczna Erbotom ICC-80","B-2105","T802-41-01-0003","Blok Operacyjny Ginekologiczny","2026-04-21",1991,"2027-04-21"]
[null,"Diatermia VIO 300D",11361585,"T802-41-01-0008","Blok Operacyjny","2026-04-21",2012,"2027-04-21"]
[null,"Diatermia Erbotom ICC 300","F2597","T802-41-10-0001","Blok Operacyjny Ginekologiczny","2026-04-21",2004,"2027-04-21"]
[null,"Diatermia elektrochirurgiczna Spectrum",500544,"T802-42-05-0002","Blok Operacyjny","2026-04-21",2015,"2027-04-21"]
[null,"Diatermia VIO3",11507515,"T802-41-01-0015","Blok Operacyjny","2026-04-21",2021,"2027-04-21"]
[null,"Aparat do terapii polem magnetycznym PhysioMG 825","MAE00004","T802-43-95-0001","Z-d Usp.Lecz","2026-04-21",2018,"2027-04-21"]
[null,"Stacja komputerowa (Opisowa)","23391063, 23186063","T801-40-01-0015","Pracownia RTG","2025-10-08",2023,"2026-10-08","Monitory do RTG stacjonarnego"]
[null,"Stacja komputerowa (Opisowa)","28368077, 28345077","T801-40-01-0015","Pracownia RTG","2025-10-08",2017,"2026-10-08"]
[null,"Rezonans Magnetyczny (ocena pola elektromagnetycznego)","HM2024","T802-43-74-0001","Zakład Diagnostyki Obrazowej","2026-02-24",2018,"2027-02-24"]
[null,"Monitor Barco MDNC-2221",9385410741,null,"Zakład Diagnostyki Obrazowej","2025-10-14",2018,"2026-10-14","Monitory do MR"]
[null,"Monitor Barco MDNC-2221",9385410735,null,"Zakład Diagnostyki Obrazowej","2025-10-14",2018,"2026-10-14"]
[null,"Monitor Barco MDNC-2221",9385410747,null,"Zakład Diagnostyki Obrazowej","2025-10-14",2018,"2026-10-14"]
[null,"Monitor Barco MDNC-2221",9385410738,null,"Zakład Diagnostyki Obrazowej","2025-10-14",2018,"2026-10-14"]
[null,"Monitor Barco MDNC-2221",9385410742,null,"Zakład Diagnostyki Obrazowej","2025-10-14",2018,"2026-10-14"]
[null,"Monitor Barco MDNC-2221",9385410743,null,"Zakład Diagnostyki Obrazowej","2025-10-14",2018,"2026-10-14"]
[null,"Monitor Barco MDNC-2221",9385410744,null,"Zakład Diagnostyki Obrazowej","2025-10-14",2018,"2026-10-14"]
[null,"Monitor Barco MDNC-2221",9385410748,null,"Zakład Diagnostyki Obrazowej","2025-10-14",2018,"2026-10-14"]
[null,"Monitor Barco MDNC-2221",9385410739,null,"Zakład Diagnostyki Obrazowej","2025-10-14",2018,"2026-10-14"]
[null,"Monitor Barco MDNC-2221",9385410740,null,"Zakład Diagnostyki Obrazowej","2025-10-14",2018,"2026-10-14"]

{"sheet":"2025","index":1,"n_rows":41,"n_cols":12,"rows_kept":41,"cut":false,"hidden":false,"merged":[[4,10,6,10],[13,11,27,11],[31,10,40,10],[0,2,0,5],[31,11,40,11]]}
[null,null,"TESTY SPECJALISTYCZNE    2025"]
[]
[null,"Nazwa urządzenia","Nr seryjny ","Nr inwentarzowy","Miejsce użytkowania","Dokument: Papierowy/ Elektroniczny","Data wykonania","Wykonujący ","Rok produkcji","Data planowania","Wyposażenie","Wynik testów "]
[null,"Tomograf komputerowy Aquilion Prime SP TSX-303B","1KB1982249","T802-43-73-0002","Pracownia TK","Elektroniczny ","2025-02-24","Medicol Solution",2019,"2026-02-24",null,"Pozytywny"]
[null,"Monitor EIZO Radiforce RX 660",24815069,null,"Pracownia TK","Papierowy","2025-10-14","Aumed ",null,"2026-10-14","Monitory do TK","Pozytywny"]
[null,"Monitor EIZO Radiforce RX 660",24827069,null,"Pracownia TK","Papierowy","2025-10-14","Aumed ",null,"2026-10-14",null,"Pozytywny"]
[null,"Monitor EIZO Radiforce RX 660",24845069,null,"Pracownia TK","Papierowy","2025-10-14","Aumed ",null,"2026-10-14",null,"Pozytywny"]
[null,"Tomograf wolumetryczny Vatech Green 21","066-000121","T802-43-73-0001","Pracownia Tomografii Wolumetrycznej ","Papierowy","2025-05-09","GEN Tadeusz Telesz, Leszek Telesz",2018,"2026-05-09",null,"Pozytywny"]
[null,"Aparat RTG SONIALVISION G4","MP0000C79002","T802-40-01-0015","Pracownia RTG","Elektorniczny","2025-04-11","Medicol Solution",2017,"2026-04-11",null,"Pozytywny"]
[null,"Cyfrowy mobilny aparat RTG DX-D 100","A5411003191","T802-40-01-0017","Pracownia RTG","Elektroniczny ","2025-02-06","Medicol Solution",2018,"2026-02-06",null,"Pozytywny"]
[null,"Aparat rentgenowski z ramieniem C Ziehm Solo FD",52971,"T802-40-01-0018","Blok Operacyjny","Elektroniczny ","2025-02-06","Medicol Solution",2018,"2026-02-06",null,"Pozytywny"]
[null,"Aparat rentgenowski z ramieniem C Ziehm Vision FD",91476,"T802-40-01-0014","Blok Operacyjny","Elektroniczny ","2025-02-06","Medicol Solution",2014,"2026-02-06",null,"Pozytywny"]
[null,"Aparat rentgenowski przyłóżkowy cyfrowy (rtg) OPTIMA XR 240 AMX","DF2402000012WK","T802-40-01-0019","Pracownia RTG","Elektorniczny","2025-02-24","Medicol Quality",2020,"2026-02-24",null,"Pozytywny"]
[null,"Diatermia VIO 300D",11225884,"T802-41-01-0002","Blok Operacyjny","Papierowy","2025-05-15","Ośrodek Badań i Analiz",2003,"2027-04-21"]
[null,"Diatermia Storz Autocon III",40101835,"T802-42-23-0007","Blok Operacyjny","Papierowy","2025-05-15","Ośrodek Badań i Analiz",2018,"2026-05-15"]
[null,"Diatermia STORZ Autocon II 200","XV11386459","T802-42-23-0003","Blok Operacyjny","Papierowy","2025-05-15","Ośrodek Badań i Analiz",2014,"2026-05-15"]
[null,"Diatermia elektrochirurgiczna z zestawem do koagulacji z funkcją do zamykania naczyń MAXIUM E","ME402E0703177648","T802-41-01-0011","Blok Operacyjny Ginekologiczny","Papierowy","2025-05-15","Ośrodek Badań i Analiz",2017,"2026-05-15"]
[null,"Diatermia elektrochirurgiczna z zestawem do koagulacji z funkcją do zamykania naczyń MAXIUM E","ME402E0703177649","T802-41-01-0012","Blok Operacyjny Ginekologiczny","Papierowy","2025-05-15","Ośrodek Badań i Analiz",2017,"2026-05-15"]
[null,"Diatermia VIO 300D",11311576,"T802-41-01-0007","Blok Operacyjny Ginekologiczny","Papierowy","2025-05-15","Ośrodek Badań i Analiz",2009,"2026-05-15"]
[null,"Diatermia elektrochirurgiczna Spectrum",501049,"T802-41-01-0014","Blok Operacyjny","Papierowy","2025-05-15","Ośrodek Badań i Analiz",2018,"2026-05-15"]
[null,"Diatermia elektrochirurgiczna Spectrum",500669,"T802-41-01-0009","Blok Operacyjny","Papierowy","2025-05-15","Ośrodek Badań i Analiz",2015,"2026-05-15"]
[null,"Diatermia chirurgiczna MEMB3","MEMB3M0000171155","T802-41-01-0010","Blok Porodowy","Papierowy","2025-05-15","Ośrodek Badań i Analiz",2017,"2026-05-15"]
[null,"Diatermia chirurgiczna Erbotom ICC-80","B-2105","T802-41-01-0003","Blok Operacyjny Ginekologiczny","Papierowy","2025-05-15","Ośrodek Badań i Analiz",1991,"2026-05-15"]
[null,"Diatermia VIO 300D",11361585,"T802-41-01-0008","Blok Operacyjny","Papierowy","2025-05-15","Ośrodek Badań i Analiz",2012,"2026-05-15"]
[null,"Diatermia Erbotom ICC 300","F2597","T802-41-10-0001","Blok Operacyjny Ginekologiczny","Papierowy","2025-05-15","Ośrodek Badań i Analiz",2004,"2026-05-15"]
[null,"Diatermia elektrochirurgiczna Spectrum",500544,"T802-42-05-0002","Blok Operacyjny","Papierowy","2025-05-15","Ośrodek Badań i Analiz",2015,"2026-05-15"]
[null,"Diatermia VIO3",11507515,"T802-41-01-0015","Blok Operacyjny","Papierowy","2025-05-15","Ośrodek Badań i Analiz",2021,"2026-05-15"]
[null,"Aparat do terapii polem magnetycznym PhysioMG 825","MAE00004","T802-43-95-0001","Z-d Usp.Lecz","Papierowy","2025-05-15","Ośrodek Badań i Analiz",2018,"2026-05-15"]
[null,"Stacja komputerowa (Opisowa)","23391063, 23186063","T801-40-01-0015","Pracownia RTG","Elektroniczny ","2025-10-08","Medicol Solution",2023,"2026-10-08","Monitory do RTG stacjonarnego","Pozytywny"]
[null,"Stacja komputerowa (Opisowa)","28368077, 28345077","T801-40-01-0015","Pracownia RTG","Elektroniczny ","2025-10-08","Medicol Solution",2017,"2026-10-08",null,"Pozytywny"]
[null,"Rezonans Magnetyczny (ocena pola elektromagnetycznego)","HM2024","T802-43-74-0001","Zakład Diagnostyki Obrazowej","Papierowe","2025-02-24","Kwant-LAB",2018,"2026-02-24"]
[null,"Monitor Barco MDNC-2221",9385410741,null,"Zakład Diagnostyki Obrazowej","Papierowe","2025-10-14","Aumed ",null,"2026-10-14","Monitory do MR"]
[null,"Monitor Barco MDNC-2221",9385410735,null,"Zakład Diagnostyki Obrazowej","Papierowe","2025-10-14","Aumed ",null,"2026-10-14"]
[null,"Monitor Barco MDNC-2221",9385410747,null,"Zakład Diagnostyki Obrazowej","Papierowe","2025-10-14","Aumed ",null,"2026-10-14"]
[null,"Monitor Barco MDNC-2221",9385410738,null,"Zakład Diagnostyki Obrazowej","Papierowe","2025-10-14","Aumed ",null,"2026-10-14"]
[null,"Monitor Barco MDNC-2221",9385410742,null,"Zakład Diagnostyki Obrazowej","Papierowe","2025-10-14","Aumed ",null,"2026-10-14"]
[null,"Monitor Barco MDNC-2221",9385410743,null,"Zakład Diagnostyki Obrazowej","Papierowe","2025-10-14","Aumed ",null,"2026-10-14"]
[null,"Monitor Barco MDNC-2221",9385410744,null,"Zakład Diagnostyki Obrazowej","Papierowe","2025-10-14","Aumed ",null,"2026-10-14"]
[null,"Monitor Barco MDNC-2221",9385410748,null,"Zakład Diagnostyki Obrazowej","Papierowe","2025-10-14","Aumed ",null,"2026-10-14"]
[null,"Monitor Barco MDNC-2221",9385410739,null,"Zakład Diagnostyki Obrazowej","Papierowe","2025-10-14","Aumed ",null,"2026-10-14"]
[null,"Monitor Barco MDNC-2221",9385410740,null,"Zakład Diagnostyki Obrazowej","Papierowe","2025-10-14","Aumed ",null,"2026-10-14"]